## Slide 1: LT Operations Monitoring
A new architecture for telescope systems telemetry

## Slide 2: Introduction
Introduction to systems monitoring
Telemetry architecture
Operations UI architecture
Demonstration

## Slide 3: PART 1 - Systems Monitoring

## Slide 4: Systems Monitoring
What is it and why do we need it ?
Finding out what the system is doing.
Measuring its performance against metrics.
Detecting problems early.

## Slide 5: Solutions
Logging
text generated by embedded code
  A human readable account of what the various software components of the system are doing.
Telemetry
data generated by embedded code
  structured data which can be used by remote clients to interpret and analyse what the system is doing.

## Slide 6: Logging
May be formatted to show things like:
  Time
  Source component
  Level of detail
Keywords to highlight specific categories of message.
  Error
  StartingOperation
  DataReceived
  CalculationResult
Data logging – logging values of environmental variables
  (sometimes confusingly called telemetry)

## Slide 7: Telemetry
Event notifications
  starting-scheduler-sweep (time, swpno, conditions)
  completed-group (group, duration, status)
Environmental variables
  buffer-size
  instrument-temperature
  rotator-position
  wind-speed

## Slide 8: Logging versus Telemetry
Telemetry differs from logging in terms of both goals and content.
  Logging attempts to provide information for both operational monitoring and software debugging.
  In doing so, it is required to serve two masters and often neither of them particularly well.
  The software developer is constantly faced with the problem of what to log with the result often being too much and too little is logged, at the same time.
  Telemetry is focused solely on providing information that is useful for understanding the operation of the software from an operational perspective.

## Slide 9: Operations Monitoring
How healthy is the application ?
What errors is the application encountering that block proper operation ?
How well is the application performing?
What external dependencies does the application have that might impact it's operation ?
Are the business metrics in the appropriate ranges ?

## Slide 10: Software versus Operations
Developers are more focused on the flows of the application internally while operations are more focused on ensuring the business goals are being met by the system.
Developers need to understand why the application fails in a particular way while operations needs to understand what components can impact the application and how those components are behaving.
The challenge to date has been that logging frameworks, which are focused on the application developer have been pressed into the secondary duty of providing operational information as well.

## Slide 11: For and against
 | Logging | Telemetry
For | Trace events in sequence Human readable May be able to extract info using scripts | Machine readable Interpret sequences Disentangle multi-threaded issues Extract timing information Instantaneous display
Against | Difficult to disentangle multi-threaded logs. Difficult to extract embedded sequences Scripts reliant on constancy of message format. | Needs clients written and modified if message format changes Not immediately human readable

## Slide 12: Performance analysis
Measuring system metrics
Low level logging
  Simple logging.
Medium level logging
  Add categories keys, operation timings
High level logging
  Operation statistics
Embedded monitoring
  Full monitoring, analysis, statistics.
Telemetry
  External client performs analysis and statistics.

## Slide 13: Metrics
Monitoring System | Operator effort | System intrusion
Low level logging | V. High | Low
Medium level logging | High | Medium
High level logging | Medium | High
Embedded monitor | Low | V. High
Telemetry | Low | Low

## Slide 14: Scenario
System has numerous processes running in parallel and interleaved.
We are only interested in instances of process (A).
While these (A)’s are running, associated sub-processes B,C, D, E etc will also run but not always the same ones and not in same order.
Aims are to measure:
  Average run time of an (A) process.
  How many sub-processes run by (A).

## Slide 15: Scenario solution (1)
Low level logging
Can we identify in log which processes are (A) ?
  Starting process A-16
Do we log both start and end of an (A) process ?
  End process A-16
Can we identify B, C, D etc in the logs ?
  Starting sub-process B-3
  Starting sub-process A-16.B2

## Slide 16: Just need to check these logs !
Might be able to grep for starting process and then
manually go thro identifying which type
note start and end times
work out duration
count number of other processes starting and ending in that period
then sum up and calculate average etc

## Slide 17: Scenario solution (2)
High level (intelligent) logging
Embedded code works out the start and end of each process and totals up the run-time, running average and standard deviation.
Sometimes processes B,C,D etc run outside the context of a process (A) so the code needs to be doctored to push various flags around telling the monitoring code whether to record stuff or not.

## Slide 18: Scenario solution (3)
Telemetry
System sends out messages when each process starts and ends along with time and process class.
Receiving client extracts sequence information, calculates average, std dev etc.
  Plots graphs of runtime against time,
  histogram of range of runtime and number of sub-processes,
  data fields showing current runtime and number of sub-processes running,
  indicator showing red if runtime is too high, green if in-range.

## Slide 19: Is it working ?
The green light is on so all is well.
I see the run-time has settled down over the last hour.
We seem to be running a lot of sub-processes at the moment

## Slide 20: PART 2 – Telemetry Architecture

## Slide 21: Old Telemetry Network

## Slide 22: Design Requirements
Different streams of data should all look essentially the same - consistent architecture.
Extendable to new systems.
Able to obtain historic data in addition to live data.
Event data available as it happens.
Detachment of source from receiver.

## Slide 23: Getting the data
Polling
  Client sends out requests to server at regular intervals.
Publish-Subscribe
  Client subscribes to feed, system sends out data as available.

## Slide 24: Polling v Pub-Sub
 | Polling | Publish-Subscribe
For | Conceptually simple | Minimum intrusion to system. Up to date, speed matching. Event handling. Add new data categories easily.
Against | Infrastructure at system. Poor for event handling. Over/under sampling. Client polling -infrastructure and configuration. | Re-registration “polling”.

## Slide 25: Telemetry Architecture

## Slide 26: Gateway architecture

## Slide 27: Single System

## Slide 28: New Telemetry Network

## Slide 29: PART 3 – UI Architecture

## Slide 30: Old RCS-GUI

## Slide 31: Design Requirements
Displays from different sources (themes/topics) collected together.
Easy to personalize – individual user configuration of layouts and content.
Able to link components to do searches, tracing, auditing.

## Slide 32: Terminology
Perspective
  A component which processes all of the data relating to a particular theme/topic.
  Typically this originates from a single source/provider.
  Contains various visual display sub-components.
    Graphs, Histograms, Data fields, State indicators, Timelines, Tables, Trees, Custom components.
Display
  A frame or window containing one or more perspectives.
Layout
  A collection of displays.

## Slide 33: Perspectives
Scheduling
Instruments
Operations
Telescope
Meteorology
Task Management
Reactive State Model
PhaseII
Tracking
Services

## Slide 34: Communications

## Slide 35: GUI Architecture

## Slide 36: Multiple Systems

## Slide 37: PART 4 – Operations UI demo

## Slide 38: Current RCS-GUI

## Slide 39: Ops UI: General Layout

## Slide 40: Ops UI: Sched:Candidates

## Slide 41: Ops UI: Sched:Summary

## Slide 42: Ops UI: Sched:Contention

## Slide 43: Ops UI: Sched:Scoring

## Slide 44: Ops UI: Phase2:Tree

## Slide 45: Ops UI: Phase2:Feasibility

## Slide 46: Ops UI: Phase2:SkyBSlice

## Slide 47: Ops UI: Tracking:Altaz

## Slide 48: Ops UI: ERS:MeteoGraphs